Get Device Alarm Count

Get Device Alarm Count

Endpoints

GET /device-alarm-count

Parameters

| name | type | description |
| --- | --- | --- |
| startDt | string | (required) YYYYMMDD |
| endDt | String | (required) YYYYMMDD |
| equipmentType | string | Equipment Type (PCS/BMS/PV) Default ALL |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/device-alarm-count?startDt=20180806&endDt=20180810&equipmentType="

Response

Retrieved a Device Alarm Count, or error on failure.

| name | type | description |
| --- | --- | --- |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| equipmentType | string | Equipment Type (PCS/BMS/PV) |
| emergencyCnt | number |  |
| cautionCnt | number |  |

ResponseExample

{

"startDt": "20180806",

"endDt": "201800810",

"equipmentType": "",

"emergencyCnt": 10,

"cautionCnt": 10

}

Get charging list

Get charging list

Endpoints

GET /charging-list

Parameters

| name | type | description |
| --- | --- | --- |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| pagePerCnt | String | Default : 10 |
| Page | String | Default : 1 |
| order | string | Default : 1, 1(Descending), 2(Ascending) |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/charging-list?startDt=20180806&endDt=20180810&pagePerCnt=&page=&order="

Response

Retrieved a Charging list, or error on failure.

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| pagePerCnt | number | Default : 10 |
| page | number | Default : 1 |
| order | number | Default : 1, 1(Descending), 2(Ascending) |
| equipmentId | string | (Equipment Id |
| totalCEnergy | string | (kWh) |

ResponseExample

[

{

"resultCnt": 1,

"startDt": "20180806",

"endDt": "201800810",

"pagePerCnt": 10,

"page": 1,

"order": 1,

"equipmentId": 1,

"totalCEnergy": "1000",

}

]

Get discharging list

Get discharging list

Endpoints

GET /discharging-list

Parameters

| name | type | description |
| --- | --- | --- |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| pagePerCnt | number | Default : 10 |
| page | number | Default : 1 |
| order | number | Default:1,1(Descending),2(Ascending) |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/discharging-list? startDt=20180806&endDt=20180810&pagePerCnt=&page=&order="

Response

Retrieved a discharging list, or error on failure.

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| pagePerCnt | number | Default : 10 |
| page | number | Default : 1 |
| order | number | Default : 1, 1(Descending), 2(Ascending) |
| equipmentId | string | Equipment Id |
| totalDEnergy | string | (kWh) |

ResponseExample

[

{

"resultCnt": 1,

"startDt": "20180806",

"endDt": "201800810",

"pagePerCnt": 10,

"pageNo": 1,

"order": 1,

"equipmentId": 1,

"totalDEnergy": "1000",

}

]

Get Device Alarm Count By equipment

Get Device Alarm Count By equipment

Endpoints

GET /equipment-device-alarm-count

Parameters

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| equipmentType | string | Equipment Type (PCS/BMS/PV) |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/euipment-device-alarm-count?equipmentId=1&startDt=20180806&endDt=20180810&equipmentType="

Response

Retrieved a Device Alarm Count by equipment, or error on failure.

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| equipmentType | string | Equipment Type (PCS/BMS/PV) |
| emergencyCnt | number |  |
| cautionCnt | number |  |

ResponseExample

{

"equipmentId": "1",

"startDt": "20180806",

"endDt": "201800810",

"equipmentType": "",

"emergencyCnt": 10,

"cautionCnt": 10

}

Get Soc

Get Soc

Endpoints

GET /soc

Parameters

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/soc?equipmentId=1"

Response

Retrieved a Soc, or error on failure.

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| retriveTime | string | YYYYMMDDhhmmss |
| soc | string | (%) |

ResponseExample

{

"equipmentId": "1",

"retriveTime": "20180806120000",

"soc": "10"

}

Get charging list by equipment

Get charging list by equipment

Endpoints

GET /equipment-charging-list

Parameters

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | number | (required) |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/equipment-charging-list?equipmentId=1&startDt=20180806&endDt=20180810&intervalType=1&interval=1"

Response

Retrieved a Charging list by equipment, or error on failure.

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| equipmentId | string | (required) Equipment Id |
| totalCEnergy | string | (kWh) |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | number | (required) |
| retrieveTime | string | YYYYMMDDhhmmss |
| chargeEnergy | string | (kWh) |

ResponseExample

[

{

"resultCnt": 1,

"equipmentId": "1",

"totalCEnergy": "1000",

"startDt": "20180806",

"endDt": "201800810",

"intervalType": "1",

"interval": 1,

"retrieveTime": "201808061200",

"chargeEnergy ": "1000"

}

]

Get discharging list by equipment

Get discharging list by equipment

Endpoints

GET /equipment-discharging-list

Parameters

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | number | (required) |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/equipment-discharging-list?equipmentId=1&startDt=20180806&endDt=20180810&intervalType=1&interval=1"

Response

Retrieved a discharging list by equipment, or error on failure.

ResponseExample

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| equipmentId | string | (required) Equipment Id |
| totalDEnergy | string | (kWh) |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | number | (required) |
| retrieveTime | string | YYYYMMDDhhmmss |
| dischargeEnergy | string | (kWh) |

[

{

"resultCnt": 1,

"equipmentId": "1",

"totalDEnergy": "1000",

"startDt": "20180806",

"endDt": "201800810",

"intervalType": "1",

"interval": 1,

"retrieveTime": "201808061200",

"dischargeEnergy": "1000"

}

]

Get Charging Schedule List

Get charging schedule list

Endpoints

GET /charging-schedule-list

Parameters

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | number | (required) |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/charging-schedule-list?equipmentId=1&startDt=20180806&endDt=20180810&intervalType=1&interval=1"

Response

Retrieved a charging schedule list, or error on failure.

ResponseExample

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | number | (required) |
| retrieveTime | string | YYYYMMDDhhmmss |
| chargingScheduleEnergy | string | (kWh) |

[

{

"resultCnt": 1,

"equipmentId": "1",

"startDt": "20180806",

"endDt": "201800810",

"intervalType": "1",

"interval": 1,

"retrieveTime": "201808061200",

"chargingScheduleEnergy": "1000"

}

]

Get Discharging Schedule List

Get discharging schedule list

Endpoints

GET /discharging-schedule-list

Parameters

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | number | (required) |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/discharging-schedule-list?equipmentId=1&startDt=20180806&endDt=20180810&intervalType=1&interval=1"

Response

Retrieved a discharging schedule list, or error on failure.

ResponseExample

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | number | (required) |
| retrieveTime | string | YYYYMMDDhhmmss |
| retrieveTime | string | YYYYMMDDhhmmss |
| dischargingScheduleEnergy | string | (kWh) |

[

{

"resultCnt": 1,

"equipmentId": "1",

"startDt": "20180806",

"endDt": "201800810",

"intervalType": "1",

"interval": 1,

"retrieveTime": "201808061200",

"dischargingScheduleEnergy": "1000"

}

]

Get total charging discharging

Get total charging discharging list

Endpoints

GET /total-charging-discharging-list

Parameters

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/total-charging-discharging-list?equipmentId=1&startDt=20180806&endDt=20180810"

Response

Retrieved a total charging discharging list, or error on failure.

ResponseExample

| name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| totalCEnergy | string |  |
| totalDEnergy | string |  |

{

"equipmentId": "1",

"startDt": "20180806",

"endDt": "201800810",

"totalCEnergy": "1000",

"totalDEnergy": "1000"

}

Get Pv power generation amount list

Get PV power generation amount list

Endpoints

GET /pv-power-gen-list

Parameters

| Name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | string | (required) |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/pv-power-gen-list?equipmentId=1&startDt=20180806&endDt=20180810&intervalType=1&interval=1"

Response

Retrieved a PV power generation list, or error on failure.

ResponseExample

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| intervalType | string | (required) default:1(min), 2(hour), 3(day), 4(week), 5(month) |
| Interval | int | (required) |
| retrieveTime | string | YYYYMMDDhhmmss |
| genEnergy | string | (kWh) |
| temperature | string | (℃) |

[

{

"resultCnt": 1,

"equipmentId": "1",

"startDt": "20180806",

"endDt": "201800810",

"intervalType": 1,

"interval": 1,

"retrieveTime": "201808061200",

"genEnergy": "1000",

"temperature": "50"

}

]

Get Pcs equipment list

Get pcs equipment list

Endpoints

GET /pcs-equipment-list

Parameters

| Name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/pcs-equipment-list?equipmentId=1"

Response

Retrieved a pcs equipment list, or error on failure.

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| equipmentId | string |  |
| equipmentName | string |  |
| retrieveTime | string | YYYYMMDDhhmmss |
| opMode | string |  |
| alarmMsg | string |  |
| acVoltage | string | (V) |
| acPower | string | (kWh) |
| acCurrent | string | (A) |
| acFreq | string | (Hz) |
| acSetPower | string | (kWh) |
| acPf | string |  |
| dcVoltage | string | (V) |
| dcPower | string | (kWh) |
| dcCurrent | string | (A) |
| dcFreq | string | (Hz) |
| dcPf | string |  |
| dcSetPower | string | (kWh) |

ResponseExample

[

{

"resultCnt": 1,

"equipmentId": "1",

"equipmentName": "",

"retrieveTime": "20180806120000",

"opMode": "1",

"alarmMsg": "",

"acVoltage": "1000",

"acPower": "1000",

"acCurrent": "1000",

"acFreq": "1000",

"acPf": "1000",

"acSetPower": "1000",

"dcVoltage": "1000",

"dcPower": "201800810",

"dcCurrent": "201800810",

"acFreq": "1000",

"acPf": "1000",

"acSetPower": "1000"

}

]

Get Bms equipment list

Get bms equipment list

Endpoints

GET /bms-equipment-list

Parameters

| Name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/bms-equipment-list?equipmentId=1"

Response

Retrieved a bms equipment list, or error on failure.

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| equipmentId | string |  |
| equipmentName | string |  |
| retrieveTime | string | YYYYMMDDhhmmss |
| sysMode | string |  |
| sysSoc | string | (%) |
| currSoc | string | (kWh) |
| sysSoh | string | (%) |
| sysVoltage | string | (V) |
| sysCurrent | string | (kWh) |
| dod | string | (%) |

ResponseExample

[

{

"resultCnt": 1,

"equipmentId": "1",

"equipmentName": "",

"retrieveTime": "20180806120000",

"sysMode": "1",

"sysSoc": "10",

"currSoc": "700",

"sysSoh": "10",

"sysVoltage": "10",

"sysCurrent": "10",

"dod": "10"

}

]

Get Pv equipment list

Get pv equipment list

Endpoints

GET /pv-equipment-list

Parameters

| Name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/pv-equipment-list?equipmentId=1"

Response

Retrieved a pv equipment list, or error on failure.

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| equipmentId | string |  |
| equipmentName | string |  |
| retrieveTime | string | YYYYMMDDhhmmss |
| status | string |  |
| alarmMsg | string |  |
| temperature | string | (℃) |
| totalPower | string | (kWh) |

ResponseExample

[

{

"resultCnt": 1,

"equipmentId": "1",

"equipmentName": "",

"retrieveTime": "20180806120000",

"status": "1",

"alarmMsg": "10",

"totalPower": "10"

}

]

Get equipment alarm list

Get equipment alarm list

Endpoints

GET /equipment-alarm-list

Parameters

| Name | type | description |
| --- | --- | --- |
| equipmentId | string | (required) Equipment Id |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| equipmentType | string | Equipment Type (PCS/BMS/PV) |
| alarmType | number | (required) 1 : emergency / 2 : caution |

RequestExample

curl -X GET

-H "Authorization: Bearer <access_token>"

-H "accept-version: 2.0.0"

"https://local-ems-addr/equipment-alarm-list?equipmentId=1&startDt=20180806&endDt=20180810&equipmentType=&alarmType=1"

Response

Retrieved a equipment alarm list, or error on failure.

ResponseExample

| name | type | description |
| --- | --- | --- |
| resultCnt | number |  |
| pcsCnt | number |  |
| bmsCnt | number |  |
| pvCnt | number |  |
| startDt | string | (required) YYYYMMDD |
| endDt | string | (required) YYYYMMDD |
| equipmentId | string |  |
| equipmentName | string |  |
| equipmentType | string | Equipment Type (PCS/BMS/PV) |
| alarmTime | string | YYYYMMDDhhmmss |
| alarmType | number | (required) 1 : emergency / 2 : caution |
| alarmMsg | string |  |

[

{

"resultCnt": 1,

"pcsCnt": 1,

"bmsCnt": 1,

"pvCnt": 1,

"startDt": "20180806",

"endDt": "20180810",

"equipmentId": "1",

"equipmentName": "",

"equipmentType": "PV",

"alarmTime": "20180806120000",

"alarmType": 1,

"alarmMsg": "10"

}

]